PART 1	GENERAL

Perdüre MVT
Moisture Vapor Control System

Section 096105

Note to specifier: This guide specification requires editing for your specific project, options are in brackets.  Consult with Your Düraamen Representative to confirm your edits and other questions.

  - SUMMARY

- This section includes the following:

- Furnish all labor, materials, tools and equipment as necessary to perform installation of surface applied moisture vapor control system for interior concrete slabs on new and/or existing concrete slabs, as shown on drawings and as specified in this section.

- Prior to installation of structural floor slab, advise [General Contractor] [Construction Manager], in writing, of all requirements of concrete substrate regarding finish, level tolerance, curing and below substrate vapor barrier; see inspection in Part 3.

### B.	Related Sections: {NOTE TO SPECIFIER: DELETE OR ADD NECESSARY SECTIONS}

- Cast-in-Place Concrete:  Section 03300.

  - Concrete sub-floor to be level (maximum variation not to exceed ¼ inch in 10 feet) and to have a steel troweled finish.

- Section 096000 Flooring.

- Section 096200 Specialty Flooring.

- Section 096700 Fluid-Applied Flooring.

  - REFERENCE STANDARDS

The publications listed below form a part of this specification to the extent referenced.  The publications are referred to in the text by the basic designation only.

A.  ASTM F-1869-11 - Standard Test Method for Measuring Moisture Vapor Emission Rate of Concrete Subfloor Using Anhydrous Calcium Chloride.

- ASTM F-2170-11 – Standard Test Method for Determining Relative Humidity in Concrete Floor Slabs Using In Situ Probes.

- ASTM E-96 - Standard Test Methods for Water Vapor Transmission of Materials.

- ASTM D-1308 – Alkalinity Resistance.

### E.	ACI 301 – Specifications for Structural Concrete for Buildings (most recent edition).  Committee in Concrete 403 bulletin 59-43, Bond Strength to Concrete.

  - DEFINITIONS

- Moisture Vapor Control System specified under this section is referenced on the drawings as [____]

  - SYSTEM DESCRIPTION

- System shall be a 20-24 mil moisture vapor and alkaline tolerant moisture vapor control surfacing utilizing a specially formulated 100% solids epoxy resin.

  - SUBMITTALS

- Samples:  Submit 6 by 6 inch cured samples of moisture vapor control system indicating thickness.  Approved samples will be used during installation for product match.

- Certified Test:  Submit two copies of suppliers/ manufacturers written certification that moisture vapor control system meets or exceeds required properties.

- Manufacturers Application Instructions:  Submit descriptive data and specific recommendations for mixing, application, curing including any precautions of special handling instructions required to comply with the Occupational Safety and Health Act.

- Shop Drawings:  Shop Drawings shall be furnished showing termination details, details at floor material transitions and where adjoining equipment.

  - Locate and provide detailing for flexible joints required for flooring in area of installation.

  - QUALITY ASSURANCE

- Materials used in the Moisture Vapor Control System shall be the products of a single manufacturer.

- Installation shall be performed by an applicator with minimum 5 years experience in work of similar nature and scope.  Installer must be approved by the manufacturer of the Moisture Vapor Control System.  The contractor shall furnish a written statement from the manufacturer that the installer is acceptable.

- Installer to verify locations of all flexible joints required by the provisions of this Section and by the recommendations of the related floor covering material manufacturers.

- Joint locations may or may not be shown in drawings.

  - Refer to drawings required under submittals above.

  - Contractor to have proven experience with specified system.

- Portable mock-up:  Prior to starting application of Moisture Vapor Control System, provide full scale portable mock-up to establish acceptable quality, durability, and appearance.  Mock-up size must not be less than 4 square feet.

  - Acceptable mock-up to be standard of quality for installed work.

  - Unacceptable installed work to be removed and replaced until acceptable. Aesthetically unacceptable but well bonded work may be overlaid or recoated per Manufacturer’s instructions if thickness clearances permit.

- Qualifications:

- Installer:  Must be acceptable to Manufacturer.

  - PROJECT CONDITIONS

- Maintain the ambient room and the floor temperatures at 550F, or above, for a period extending from 72 hours before, during and after installation of Moisture Vapor Control System.  Concrete to receive Moisture Vapor Control System shall have cured for at least 5 days.

- Dew Point: Substrate temperature must be minimum of 50 above dew point prior to, during or up to 24 hours after application of Moisture Vapor Control System.

- Illumination: Apply Moisture Vapor Control System only where a minimum of 30 footcandles exist when measured 3 feet from surface.

- Advise other trades of fixtures and fittings not to be installed until Moisture Vapor Control System is cured and protected.

  - PROTECTION

- Protect adjacent surfaces not scheduled to receive the Moisture Vapor Control System by masking, or by other means, to maintain these surfaces free of the flooring material.

- Provide adequate ventilation and fire protection at all mixing and placing operations.  Prohibit smoking or use of spark or flame producing devices within 50 feet of any mixing or placing operation.

- Provide polyethylene or rubber gloves or protective creams for all workmen engaged in applying products containing epoxy.

  - PRODUCT DELIVERY, STORAGE AND HANDLING

- All materials shall be delivered to project site in original manufacturer's sealed containers including type of material, batch numbers, date of manufacture, and pertinent labels intact and legible.

- Store materials in dry protected area at a temperature between 60°F to 80°F.

- Follow all manufacturer's specific instructions and prudent safety practices for storage and handling.

  - WARRANTY

- Contractor to guarantee work under this Section to be free from defects of installation for the duration of the warranty period.  Manufacturer to provide standard material quality warranty.  Defects occurring during warranty period shall be repaired by the contractor, in a manner satisfactory to the Owner and the Architect, at no additional cost to the Owner.

  - Warranty Period:  One (1) Year.

PART 2	PRODUCTS

  - MANUFACTURER

- Specifications and quality of design standard (basis of design) based on Düraamen Engineered Products Inc.: Perdüre MVT 
T: 866.835.6595 / email: info@duraamen.com / www.duraamen.com

- System description: Moisture vapor tolerant and alkaline resistant, two-component, 100% solids epoxy resin Moisture Vapor Control System.

- Alternative manufacturers must have as a minimum the standards set forth in this specification and Perdüre MVT data sheet and must be preapproved in accordance with project requirements.

  - MATERIALS

- Perdüre MVT

- Perdüre ECF / Perdüre EJF

2.3	MIXING

- Mix according to Manufacturer’s instructions.  Apply Moisture Vapor Control System to specified physical properties.

PART 3	EXECUTION

3.1	SURFACE CONDITIONS

A.	Obtain Architect's approval of mock-up before installing Moisture Vapor Control System; see QUALITY ASSURANCE in PART 1.

B.	Preparation of Surface:

- Inspect surfaces to receive Moisture Vapor Control System and verify that condition is smooth and free from conditions that will adversely affect execution, permanence, or quality of work.

- Remove all projections, all debris and contaminates detrimental to Moisture Vapor Control System, including dirt, oil/hydrocarbon/organic contaminates, grease, metallic shake-on hardeners, excessive unreacted silicates (metasilicates), and surface coatings affecting bond.

- Notify Architect or Owner in writing prior to commencing work of any conditions deemed unsatisfactory for the installation; installation of Moisture Vapor Control System materials is understood as acceptance of the substrate as satisfactory.

- Concrete:

a.	Effectively remove concrete laitance by steel shot blasting unless other method is approved by manufacturer.  Surface profile must be a minimum ICRI CSP-3 profile according to International Concrete Repair Institute Guideline #03732.

b.	Concrete slab shall have an efficient puncture-resistant reinforced moisture vapor barrier 10-15 mils thick minimum directly under the concrete slab (for slab on grade).  Do not use vapor barrier manufactured with recycled material.  Testing must be done to verify that the moisture vapor emission rate and moisture content of the slab does not exceed the limits of Perdüre MVT as recommended by the manufacturer at time of installation of the Moisture Vapor Control System or at any future date.  Moisture vapor emission and moisture content testing must conform with the requirements of ASTM F-1869-11 (Calcium Chloride Test) and ASTM F-2170-11 (Relative Humidity Probe Test).  If test results show excessive moisture content or moisture vapor emission rate, apply manufacturer’s recommended alternative moisture vapor emission control material.

c.	Treat cracks in concrete using manufacturer's recommended practice.  Rout out crack larger than 1/16” and fill with Perdüre MVT material; reinforce crack with fiberglass cloth.  Refer to section 3.02.B.

3.2 	INSTALLATION

A.	Install Moisture Vapor Control System materials in strict conformance with manufacturer's instructions.

B.	Route out all cracks (larger than 1/16” width) and fill with Perdüre MVT.  Reinforce crack with 18” width fiberglass cloth using Perdüre MVT.

C.	Apply Moisture Vapor Control System Perdüre MVT by squeegee and back roll at the rate of 125-150ft2/gal/coat (two coats required) to thoroughly wet surface, but taking care not to "pond" the material.  Allow first coat to cure before applying second coat.  Final topcoat must be pinhole free.  Final topcoat must either be broadcasted with 30 mesh silica sand or thoroughly sanded before installing the flooring system.

D.	Match finished work to approved sample, uniform in thickness and free from defects detrimental to performance.

E.	Apply temporary protection until Moisture Vapor Control System is fully cured.  The General Contractor shall protect the finished system from the time that the sub-contractor completes the work.